FLOW DIAGRAM OF INTERCONNETION APPLICATION PROCESS	   (06042012)

LEVEL 2

customer files			     EDC notifies C-G 		        Level 2

interconnection 		     receipt of application  	         review

application			     Part 1

3 business days					EDC notifies C-G

to begin construction

15 business days

EDC sends signed

3 business days			           	copy of Part 1 to C- G

customer submits completed

Part 2 of application to EDC 						EDC receives Part 2

5 business days

EDC notifies C-G of

facility inspection schedule

5 business days

EDC inspects C-G

facility

5 business days	EDC  approves C-G

system and gives permission to operate