## Annual Capacity
New Jersey Solar Installations Annually as of 11/30/16
[15 empty] | Previously Reported through 10/31/16 |  | Difference between 10/31/16 and 11/30/16 Report
| Residential (Kw) |  | Non-Residential |  | Non-Residential > 100 to < 1000 Kw |  | Non -Residential |  | Non-Residential |  | Grid Supply (Kw) |  | Total of All Projects (Kw)
|  |  | < = 100 (Kw) |  |  |  | >= 1000 Kw |  | Total (Kw)
Year | Qty | Capacity (Kw) | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
2001-2011 | 10778 | 84712.697 | 1821 | 51266.82 | 701 | 210448.892 | 61 | 107928.022 | 2583 | 369643.734 | 62 | 110429.208 | 13423 | 564785.639 | 13423 | 564785.639 | 0 | 0
2012 | 4709 | 40723.17 | 649 | 22642.527 | 460 | 135450.161 | 49 | 107020.968 | 1158 | 265113.656 | 35 | 111490.527 | 5902 | 417327.353 | 5902 | 417327.353 | 0 | 0
2013 | 5913 | 47594.712 | 338 | 13206.966 | 241 | 74135.694 | 31 | 56723.198 | 610 | 144065.858 | 15 | 10566.995 | 6538 | 202227.565 | 6538 | 202227.565 | 0 | 0
2014 | 6244 | 50953.319 | 128 | 4456.54 | 119 | 42641.602 | 16 | 72324.476 | 263 | 119422.618 | 12 | 77016.665 | 6519 | 247392.602 | 6519 | 247392.602 | 0 | 0
2015-2016 QA/QC | 1550 | 12420.919 | 29 | 1051.42 | 21 | 6798.98 | 1 | 2376 | 51 | 10226.4 | 0 | 0 | 1601 | 22647.319 | 1601 | 22647.319 | 0 | 0
2016 w/ PTO prior to 1/1/15 | 83 | 674.12 | 4 | 213.58 | 4 | 2113.19 | 0 | 0 | 8 | 2326.77 | 0 | 0 | 91 | 3000.89 | 89 | 2987.895 | 2 | 12.995
2015 | 12587 | 99682.11 | 116 | 3686.29 | 81 | 25001.18 | 7 | 21629.63 | 204 | 50317.1 | 8 | 41683.64 | 12799 | 191682.85 | 12742 | 191264.43 | 57 | 418.42
2016 | 16871 | 137846.14 | 148 | 4250.55 | 72 | 24260.4 | 8 | 16846.87 | 228 | 45357.82 | 17 | 105329.55 | 17116 | 288533.51 | 15436 | 262195.88 | 1680 | 26337.63
0
Total | 58735 | 474607.187 | 3233 | 100774.693 | 1699 | 520850.099 | 173 | 384849.164 | 5105 | 1006473.956 | 149 | 456516.585 | 63989 | 1937597.728 | 62250 | 1910828.683 | 1739 | 26769.045
[9 empty] | Estimated Installations: |  |  |  | 0 | 0 | 559 | 7112.2154 | -559 | -7112.2154
[9 empty] | Total with Estimated Installations: |  |  |  | 63989 | 1937597.728 | 62809 | 1917940.8984 | 1180 | 19656.8296
* 2001-2014 = data reported by Honeywell (HW) based on QA/QC date.
* 2015-2016 QA/QC = this row includes those registrations processed by HW with a QA/QC date in 2015 and 2016, with PTO dated prior to 1/1/15.
* 2016 w/ PTO prior to 1/1/15 = this row includes those registrations processed in 2016 with a PTO prior to 1/1/15.
* 2015-2016 = capacity based on PTO Date.
* Estimated Installations = PTO dates have all been entered. The estimated installations will be removed from all future reports.

## Monthly Capacity
New Jersey Solar Installations by Month as of 11/30/16
Difference between 10/31/16 and 11/30/16 Report
| Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Total of All Projects (kW) |  | Previously Reported through 10/31/16
|  |  | < = 100 kW |  | > 100 to < 1000 kW |  | > = 1000 kW |  | Total
Year Aggregate (QA/QC) & Monthly 2015 & 2016 | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | Total Qty | Total Capacity | Total Qty | Total Capacity
2001-2011 | 10778 | 84712.697 | 1821 | 51266.82 | 701 | 210448.892 | 61 | 107928.022 | 2583 | 369643.734 | 62 | 110429.208 | 13423 | 564785.639 | 0 | 0 | 13423 | 564785.639
2012 | 4709 | 40723.17 | 649 | 22642.527 | 460 | 135450.161 | 49 | 107020.968 | 1158 | 265113.656 | 35 | 111490.527 | 5902 | 417327.353 | 0 | 0 | 5902 | 417327.353
2013 | 5913 | 47594.712 | 338 | 13206.966 | 241 | 74135.694 | 31 | 56723.198 | 610 | 144065.858 | 15 | 10566.995 | 6538 | 202227.565 | 0 | 0 | 6538 | 202227.565
2014 | 6244 | 50953.319 | 128 | 4456.54 | 119 | 42641.602 | 16 | 72324.476 | 263 | 119422.618 | 12 | 77016.665 | 6519 | 247392.602 | 0 | 0 | 6519 | 247392.602
2015-2016 QA/QC | 1550 | 12420.919 | 29 | 1051.42 | 21 | 6798.98 | 1 | 2376 | 51 | 10226.4 | 0 | 0 | 1601 | 22647.319 | 0 | 0 | 1601 | 22647.319
2016 w/ PTO prior to 1/1/15 | 83 | 674.12 | 4 | 213.58 | 4 | 2113.19 | 0 | 0 | 8 | 2326.77 | 0 | 0 | 91 | 3000.89 | 0 | 0 | 91 | 3000.89
2015-01-01 | 829 | 6754.85 | 7 | 182.45 | 12 | 2920.42 | 0 | 0 | 19 | 3102.87 | 1 | 6258.6 | 849 | 16116.32 | 0 | 0 | 849 | 16116.32
2015-02-01 | 615 | 4669.86 | 12 | 334.13 | 1 | 851.19 | 0 | 0 | 13 | 1185.32 | 0 | 0 | 628 | 5855.18 | 0 | 0 | 628 | 5855.18
2015-03-01 | 838 | 6791.32 | 1 | 16.07 | 4 | 2132.6 | 1 | 5958.43 | 6 | 8107.1 | 0 | 0 | 844 | 14898.42 | 0 | 0 | 844 | 14898.42
2015-04-01 | 903 | 7045.28 | 11 | 285.07 | 4 | 1459.31 | 0 | 0 | 15 | 1744.38 | 0 | 0 | 918 | 8789.66 | 0 | 0 | 918 | 8789.66
2015-05-01 | 776 | 5977.53 | 6 | 197.07 | 4 | 1321.18 | 0 | 0 | 10 | 1518.25 | 0 | 0 | 786 | 7495.78 | 0 | 0 | 786 | 7495.78
2015-06-01 | 1077 | 8652.64 | 10 | 261.22 | 3 | 1200.66 | 1 | 1589.87 | 14 | 3051.75 | 2 | 5887.72 | 1093 | 17592.11 | 1090 | 17560.49 | 3 | 31.62
2015-07-01 | 1485 | 11912.66 | 10 | 260.91 | 15 | 4527.88 | 1 | 3448.44 | 26 | 8237.23 | 0 | 0 | 1511 | 20149.89 | 1507 | 20115.23 | 4 | 34.66
2015-08-01 | 1384 | 10897.49 | 12 | 410.26 | 5 | 947.96 | 0 | 0 | 17 | 1358.22 | 1 | 9899.82 | 1402 | 22155.53 | 1391 | 22093.22 | 11 | 62.31
2015-09-01 | 1316 | 10482.01 | 4 | 112.99 | 6 | 1584.75 | 0 | 0 | 10 | 1697.74 | 1 | 5992.03 | 1327 | 18171.78 | 1311 | 18057.62 | 16 | 114.16
2015-10-01 | 1235 | 9865.32 | 13 | 473.12 | 8 | 1377.49 | 0 | 0 | 21 | 1850.61 | 0 | 0 | 1256 | 11715.93 | 1251 | 11682.11 | 5 | 33.82
2015-11-01 | 921 | 7102.32 | 11 | 455.37 | 6 | 2452.47 | 2 | 3372.69 | 19 | 6280.53 | 0 | 0 | 940 | 13382.85 | 930 | 13299.3 | 10 | 83.55
2015-12-01 | 1208 | 9530.83 | 19 | 697.63 | 13 | 4225.27 | 2 | 7260.2 | 34 | 12183.1 | 3 | 13645.47 | 1245 | 35359.4 | 1242 | 35329.68 | 3 | 29.72
2016-01-01 | 1234 | 9956.52 | 8 | 288.85 | 4 | 941.95 | 0 | 0 | 12 | 1230.8 | 2 | 13808.06 | 1248 | 24995.38 | 1236 | 24882.2 | 12 | 113.18
2016-02-01 | 1351 | 10834.53 | 17 | 370.21 | 8 | 2331.7 | 0 | 0 | 25 | 2701.91 | 2 | 12343.29 | 1378 | 25879.73 | 1370 | 25772 | 8 | 107.73
2016-03-01 | 1715 | 14074.03 | 18 | 443.24 | 9 | 3637.43 | 2 | 3738.92 | 29 | 7819.59 | 2 | 18727.51 | 1746 | 40621.13 | 1723 | 40421.97 | 23 | 199.16
2016-04-01 | 1331 | 11157.31 | 8 | 259.1 | 7 | 2016.14 | 1 | 2673.6 | 16 | 4948.84 | 2 | 19453.59 | 1349 | 35559.74 | 1335 | 35451.34 | 14 | 108.4
2016-05-01 | 1904 | 15413.2 | 17 | 394.31 | 8 | 2908.47 | 0 | 0 | 25 | 3302.78 | 5 | 23958.37 | 1934 | 42674.35 | 1874 | 41830.71 | 60 | 843.64
2016-06-01 | 2218 | 18151.72 | 15 | 365.36 | 11 | 4157.74 | 0 | 0 | 26 | 4523.1 | 1 | 5992.03 | 2245 | 28666.85 | 2178 | 28257.64 | 67 | 409.21
2016-07-01 | 1684 | 13898.36 | 21 | 835.1 | 6 | 2250.28 | 2 | 2544.59 | 29 | 5629.97 | 0 | 0 | 1713 | 19528.33 | 1650 | 18603.4 | 63 | 924.93
2016-08-01 | 2078 | 16968.14 | 14 | 451.39 | 8 | 2115.84 | 0 | 0 | 22 | 2567.23 | 0 | 0 | 2100 | 19535.37 | 1912 | 17658.09 | 188 | 1877.28
2016-09-01 | 1406 | 11907.15 | 16 | 524.25 | 5 | 952.16 | 1 | 3972.96 | 22 | 5449.37 | 2 | 3896.7 | 1430 | 21253.22 | 1228 | 19403.15 | 202 | 1850.07
2016-10-16 | 1088 | 8567.58 | 12 | 270.02 | 3 | 1472.35 | 1 | 2019.6 | 16 | 3761.97 | 1 | 7150 | 1105 | 19479.55 | 930 | 9915.38 | 175 | 9564.17
2016-11-16 | 862 | 6917.6 | 2 | 48.72 | 3 | 1476.34 | 1 | 1897.2 | 6 | 3422.26 | 0 | 0 | 868 | 10339.86 | 0 | 0 | 868 | 10339.86
Total | 58735 | 474607.187 | 3233 | 100774.693 | 1699 | 520850.099 | 173 | 384849.164 | 5105 | 1006473.956 | 149 | 456516.585 | 63989 | 1937597.728 | 24158 | 400333.53 | 39831 | 1537264.198
* 2001-2014 = data reported by Honeywell (HW) based on QA/QC date.
* 2015-2016 QA/QC = this row includes those registrations processed by HW with a QA/QC date in 2015 and 2016, with PTO dated prior to 1/1/15.
* 2016 w/ PTO prior to 1/1/15 = this row includes those registrations processed in 2016 with a PTO prior to 1/1/15.
* 2015-2016 = capacity based on PTO Date.
Note: Prior to March 1, 2016, the month in which a solar project was reported as installed was based upon the date the final registration package reached QA/QC status. Starting with the report in May of 2016, the month in which a project is reported as installed is based upon the date the project received permission to operate (PTO) from its electric distribution company (EDC). The change in methodology results in a more accurate representation of when a project was installed. However, the monthly installations shown above include only those projects that have reported a PTO date to the SRP processing team. The actual amount installed in any month will not be known until all projects installed in that month submit a PTO date. Therefore, for example, the amount shown for any given month should not be interpreted as what was installed in that month. Alternatively, it represents only the projects installed in that month that have reported a PTO date as of the date of the report. Based on the above data, we are seeing a lag time of well over 2-3 months between when a project obtains a PTO and when it submits the PTO to the SRP team. The monthly installation number will be updated as additional PTO dates are reported.

## Interconnection & Customer Type
New Jersey Solar Installations by Interconnection Type as of 11/30/16
Interconnection Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Behind the meter | 63840 | 1481081.145 | 76.44%
Grid Supply | 149 | 456516.585 | 23.56%
Total | 63989 | 1937597.73 | 100%
BEHIND THE METER Project Installations by Customer Type
Customer Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Commercial | 3702 | 773091.881 | 52.2%
Farm | 100 | 3514.601 | 0.2373%
Government | 199 | 35257.719 | 2.381%
Municipality | 82 | 13053.677 | 0.8814%
Non Profit | 413 | 32728.849 | 2.21%
Residential | 58735 | 474607.187 | 32.04%
School Other | 108 | 39164.882 | 2.644%
School Public K-12 | 411 | 99650.685 | 6.728%
Sunlit | 59 | 1523.361 | 0.1029%
University Private | 6 | 715.34 | 0.0483%
University Public | 25 | 7772.963 | 0.5248%
Total | 63840 | 1481081.145 | 100%
GRID SUPPLY Project Installations by Subsection
Description | Project Qty | Installed Capacity (kW) | % of Installed Capacity
EDC | 78 | 79559.419 | 17.43%
Subsection q | 28 | 171989.18 | 37.67%
Subsection s | 4 | 18531.14 | 4.059%
Subsection t | 6 | 63911.13 | 14%
Pre Solar Act | 33 | 122525.716 | 26.84%
Totals | 149 | 456516.585 | 100%
Note 1: We received an October PTO for a subsection q which has been added to the November installation report (7,150 kW).
Note 2: Once a Permission to Operate (PTO) is received, the date is updated in our system and the capacity listed in the initial registration is included in the installation report. Although the PTO was received, the capacity is not updated in our system until the final as-built has been received and reviewed. The project listed below was included in the October installation report based on the capacity listed in the initial registration. The capacity in the November report is modified to reflect the installed capacity reported in the final as-built.
Registration (Subsection t) | Initial Registration Capacity (kW) |  | Final Installed Capacity (kW) | Difference
SRP33910 (Syncarpha) | 4318.7 |  | 3678.4 | 640.3

## TPO Summary
Summary of THIRD PARTY OWNERSHIP (TPO)
Project Installations as of 11/30/16
ALL Customer Types
Behind the Meter Project Installations
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 7843 | 276125.781 | 23.09%
Yes | Used TPO | 47203 | 919953.779 | 76.91%
Totals |  | 55046 | 1196079.56 | 100%
Blank | Unkown | 8794 | 285001.585
RESIDENTIAL ONLY
Behind the Meter Project Installations
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 6439 | 57826.426 | 13.72%
Yes | Used TPO | 45377 | 363790.87 | 86.28%
Totals |  | 51816 | 421617.296 | 100%
Blank | Unkown | 6919 | 52989.891
Note: The above tables provide a summary of responses regarding the use of Third Party Ownership (TPO) as reported on the SRP Registration form by the registrant. The quantities for the projects that are listed as "Unknown" are provided as a reference but are not included in the Totals or the Percent of Capacity calculation.

## By County
Installed Capacity by County as of 11/30/16
[5 empty] | Previously Reported through 10/31/16 |  | Difference between 10/31/16 and 11/30/16 Report
| County | # Projects | Installed Capacity (Kw) | % Installed Capacity | # Projects | Installed Capacity (Kw) | # Projects | Installed Capacity (Kw)
1 | Sussex | 758 | 54216.331 | 2.798% | 743 | 52705.431 | 15 | 1510.9
2 | Warren | 674 | 70882.107 | 3.658% | 656 | 70605.087 | 18 | 277.02
3 | Morris | 2045 | 69826.532 | 3.604% | 2005 | 69444.162 | 40 | 382.37
4 | Hunterdon | 1223 | 69055.517 | 3.564% | 1213 | 68967.267 | 10 | 88.25
5 | Somerset | 2573 | 96121.145 | 4.961% | 2538 | 96447.315 | 35 | -326.17
6 | Passaic | 1434 | 41133.234 | 2.123% | 1401 | 40873.754 | 33 | 259.48
7 | Bergen | 2696 | 76551.947 | 3.951% | 2622 | 75403.567 | 74 | 1148.38
8 | Hudson | 632 | 61554.781 | 3.177% | 622 | 60990.541 | 10 | 564.24
9 | Essex | 1927 | 60290.438 | 3.112% | 1880 | 59997.368 | 47 | 293.07
10 | Union | 2564 | 65440.344 | 3.377% | 2492 | 64329.324 | 72 | 1111.02
11 | Middlesex | 5850 | 242177.681 | 12.5% | 5680 | 240794.971 | 170 | 1382.71
12 | Mercer | 2356 | 131066.747 | 6.764% | 2307 | 130714.917 | 49 | 351.83
13 | Burlington | 5556 | 190593.099 | 9.837% | 5411 | 189372.109 | 145 | 1220.99
14 | Camden | 4151 | 88184.043 | 4.551% | 4021 | 87144.963 | 130 | 1039.08
15 | Gloucester | 3394 | 80293.218 | 4.144% | 3268 | 79021.038 | 126 | 1272.18
16 | Salem | 988 | 39649.856 | 2.046% | 966 | 39344.576 | 22 | 305.28
17 | Monmouth | 6253 | 173691.691 | 8.964% | 6088 | 170295.091 | 165 | 3396.6
18 | Ocean | 10422 | 132090.237 | 6.817% | 10146 | 129510.707 | 276 | 2579.53
19 | Atlantic | 4945 | 79534.67 | 4.105% | 4746 | 77738.83 | 199 | 1795.84
20 | Cumberland | 1441 | 85808.91 | 4.429% | 1396 | 78133.4 | 45 | 7675.51
21 | Cape May | 2107 | 29435.202 | 1.519% | 2049 | 28994.272 | 58 | 440.93
| TOTALS | 63989 | 1937597.73 | 100% | 62250 | 1910828.69 | 1739 | 26769.04
Note: Once a Permission to Operate (PTO) is received, the date is updated in our system and the capacity listed in the initial registration is included in the installation report. Although the PTO was received, the capacity is not updated in our system until the final as-built has been received and reviewed.

## Definitions
SRP Registration Program Status Definitions |  | Description of Codes Used In Project List
|  | County Code | County | TPO Code | Description
Accepted | An SRP Acceptance Letter has been issued | 1 | Sussex | No | Did Not use TPO
|  | 2 | Warren | Yes | Used TPO
Final As-Built Received & Final As-Built Received -Grid Supply | The Final As-Built packet has been submitted | 3 | Morris | Blank | Unknown
|  | 4 | Hunterdon
As-Built Incomplete | The Final As-Built packet has been submitted and deemed incomplete | 5 | Somerset | TPO = Third Party Ownership
|  | 6 | Passaic
Onsite Inspection | The SRP Registration has been randomly selected for an on-site inspection and will be performed by an SRP Program Inspector | 7 | Bergen
|  | 8 | Hudson
Onsite Complete - Grid Supply | The SRP Registration has been randomly selected for an on-site inspection and will be performed by an SRP Program Inspector | 9 | Essex
|  | 10 | Union
Verification Waiver | The SRP Registration has been randomly selected for a verification waiver | 11 | Middlesex
|  | 12 | Mercer
Registration Complete | The inspection has passed or the verification waiver notice has been sent. The project is complete and the NJ Certification Number was emailed to the system owner | 13 | Burlington
|  | 14 | Camden
QA Selected | HW Historical Status -- Date the project received a waiver of verification | 15 | Gloucester
|  | 16 | Salem
QA/QC Status: QC Selected | HW Historical Status -- Date the project was selected for an on site solar verification | 17 | Monmouth
|  | 18 | Ocean
QA/QC Status: Complete | HW Historical Status -- Date the project was issued a NJ Certification Number | 19 | Atlantic
|  | 20 | Cumberland
|  | 21 | Cape May