DRAFT (06042012)

SUMMARY OF TIME FRAMES FOR ALL INTERCONNECTION PROCEDURAL STEPS

READOPTION

PROCEDURE		LEVEL		CURRENT		PROPOSAL 		READOPTION

Customer notification of	     1		3 business days		3 business days		3 business days

Receipt of initial

interconnection	    	     2		3 business days		3 business days		3 business days

Application and whether it’s

Complete or not    		     3		3 business days		3 business days		3 business days

[N.J.A.C. 14:8-5.4(i); 5.5(n)]

EDC notifies applicant

that customer-generator	     1		10 business days		10 business days		10 business days

meets all criteria for

interconnection after receipt	     2		15 business days		15 business days		15 business days

of initial application and

customer-generator can begin	     3		a reasonable time 	a reasonable time		a reasonable time

construction [14:8-5.4(j)(1); 5.5(o)]

The number of days the EDC	     1		  	X		3 business days		3 business days

has to forward signed copy of	     2			X		3 business days		3 business days

Part 1 to customer-generator	     3			X			X			X

[14:8-5.4(k)(2); 5.5(o)(ii)]

After customer-generator 	     1		3 business days		3 business days		5 business days

Notifies EDC that facility is

installed, EDC shall notify	     2		3 business days		15 business days		5 business days

customer-generator if an

inspection is required		     3			X			X			X

[14:8-5.4(o)(2); 5.5(r)(2)]

If an inspection is required	     1		promptly			10 business days		10 business days

time scheduling must be 	     2		reasonable time	 	 3 business days		  5 business days

arranged and completed	     3		15 business days		15 business days		15 business days

[14:8-5.4(o)(3); 5.5(r)(3); 5.6(i)]

If customer-generator facility	     1			X		 5 business days		 5 business days

passes EDC inspection, within

how many days are allowed	     2			X		 5 business days		 5 business days

for EDC to notify customer-

generator of approval to 	     3		3 business days  		 3 business days		 3 business days

operate [14:8-5.4(o)(5); 5.5(r)(5);

5.6(j)(1)]

Total Process for Level 1	16 – 30 business		34 business days	              36-40 business

days						days

Total Process for Level 2			21- 40 business days	30-44 business days     40-50 business days

Total Process for Level 3			2-3 months depending	2-3 months depending	2-3 months

upon impact studies	upon impact studies