## Annual Capacity
| New Jersey Solar Installations SREC Registration Program (SRP) & Transition Incentive Program (TI) as of | [12 empty] | 2021-02-28 | (Annual Capacity)
[20 empty] | Previously Reported through 01/31/2021 |  | Difference between 01/31/201 and 02/28/2021
|  |  | Residential (kW) |  |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  | Community Solar (kW) |  | Total of All Projects as of 02/28/2021 (kW)
[6 empty] | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW) | [7 empty] | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
2012-01-01 |  |  | Qty | Capacity |  | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity
SRP Program
| 2000 |  | 4 | 11.85 |  | 2 | 11.04 | 0 | 0 | 0 | 0 | 2 | 11.04 | 0 | 0 |  |  | 6 | 22.89 | 6 | 22.89 | 0 | 0
| 2001 |  | 2 | 5.25 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 2 | 5.25 | 2 | 5.25 | 0 | 0
| 2002 |  | 25 | 72.82 |  | 9 | 324 | 1 | 262.14 | 0 | 0 | 10 | 586.14 | 0 | 0 |  |  | 35 | 658.96 | 35 | 658.96 | 0 | 0
| 2003 |  | 62 | 346.842 |  | 16 | 193.1 | 1 | 479.8 | 0 | 0 | 17 | 672.9 | 0 | 0 |  |  | 79 | 1019.742 | 79 | 1019.742 | 0 | 0
| 2004 |  | 250 | 1510.618 |  | 42 | 382.006 | 2 | 623.385 | 0 | 0 | 44 | 1005.391 | 0 | 0 |  |  | 294 | 2516.009 | 294 | 2516.009 | 0 | 0
| 2005 |  | 623 | 4606.176 |  | 77 | 1019.883 | 16 | 3923.08 | 0 | 0 | 93 | 4942.963 | 0 | 0 |  |  | 716 | 9549.139 | 716 | 9549.139 | 0 | 0
| 2006 |  | 737 | 5260.882 |  | 105 | 1881.529 | 36 | 11097.32 | 0 | 0 | 141 | 12978.849 | 0 | 0 |  |  | 878 | 18239.731 | 878 | 18239.731 | 0 | 0
| 2007 |  | 522 | 3787.471 |  | 94 | 2113.461 | 26 | 8352.908 | 0 | 0 | 120 | 10466.369 | 0 | 0 |  |  | 642 | 14253.84 | 642 | 14253.84 | 0 | 0
| 2008 |  | 653 | 4937.965 |  | 170 | 3874.197 | 44 | 13247.054 | 4 | 6134.26 | 218 | 23255.511 | 0 | 0 |  |  | 871 | 28193.476 | 871 | 28193.476 | 0 | 0
| 2009 |  | 1056 | 7999.654 |  | 242 | 6797.993 | 88 | 24235.758 | 8 | 14085.91 | 338 | 45119.661 | 5 | 3370.56 |  |  | 1399 | 56489.875 | 1399 | 56489.875 | 0 | 0
| 2010 |  | 2131 | 16453.179 |  | 378 | 12677.006 | 154 | 45624.902 | 12 | 20986.6 | 544 | 79288.508 | 19 | 25187.34 |  |  | 2694 | 120929.027 | 2695 | 120970.887 | -1 | -41.86
| 2011 |  | 5093 | 40497.095 |  | 826 | 26579.011 | 442 | 135561.99 | 50 | 106495.593 | 1318 | 268636.594 | 51 | 137618.951 |  |  | 6462 | 446752.64 | 6463 | 446758.415 | -1 | -5.775
2014-01-01 | 2012 |  | 5286 | 42073.536 |  | 639 | 22885.777 | 425 | 123615.472 | 47 | 87882.441 | 1111 | 234383.69 | 23 | 56793.804 |  |  | 6420 | 333251.03 | 6420 | 333251.03 | 0 | 0
| 2013 |  | 5946 | 46545.186 |  | 281 | 11453.664 | 233 | 74992.531 | 26 | 64412.16 | 540 | 150858.355 | 18 | 23162.1 |  |  | 6504 | 220565.641 | 6504 | 220565.641 | 0 | 0
| 2014 |  | 6825 | 54731.644 |  | 117 | 4343.174 | 104 | 36123.718 | 10 | 45163.02 | 231 | 85629.912 | 8 | 63370.64 |  |  | 7064 | 203732.196 | 7064 | 203732.196 | 0 | 0
2015-01-01 | 2015 |  | 12886 | 101916.82 |  | 110 | 3689.21 | 86 | 27254.1 | 7 | 21629.63 | 203 | 52572.94 | 8 | 41683.64 |  |  | 13097 | 196173.4 | 13097 | 196173.4 | 0 | 0
2016-01-01 | 2016 |  | 21910 | 180261.11 |  | 211 | 6519.27 | 123 | 42752.5 | 18 | 42479.69 | 352 | 91751.46 | 22 | 136223.31 |  |  | 22284 | 408235.88 | 22284 | 408235.88 | 0 | 0
2017-01-01 | 2017 |  | 18560 | 158934.235 |  | 282 | 9749.65 | 174 | 65123.59 | 22 | 57718.49 | 478 | 132591.73 | 8 | 60129.63 |  |  | 19046 | 351655.595 | 19046 | 351655.595 | 0 | 0
2017-01-01 | 2018 |  | 17184 | 149474.98 |  | 329 | 10830.27 | 203 | 70258.75 | 26 | 56308.67 | 558 | 137397.69 | 4 | 43687.12 |  |  | 17746 | 330559.79 | 17746 | 330559.79 | 0 | 0
2017-01-01 | 2019 |  | 15864 | 144162.88 |  | 332 | 11123.16 | 212 | 79444.31 | 40 | 137163.85 | 584 | 227731.32 | 7 | 77950.13 |  |  | 16455 | 449844.33 | 16455 | 449844.33 | 0 | 0
2017-01-01 | 2020 |  | 6479 | 59344.04 |  | 126 | 3950.07 | 57 | 17747.1 | 5 | 13813.63 | 188 | 35510.8 | 6 | 45568.26 |  |  | 6673 | 140423.1 | 6670 | 140390.39 | 3 | 32.71
2017-01-01 | 2021 |  | 8 | 47.05 |  | 0 | 0 | 1 | 192.76 | 0 | 0 | 1 | 192.76 | 0 | 0 |  |  | 9 | 239.81 | 2 | 195.56 | 7 | 44.25
| SRP Total |  | 122106 | 1022981.283 |  | 4388 | 140397.471 | 2428 | 780913.168 | 275 | 674273.944 | 7091 | 1595584.583 | 179 | 714745.485 |  |  | 129376 | 3333311.351 | 129368 | 3333282.026 | 8 | 29.325
TI Program
| 2015 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2016 |  | 6 | 45.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 45.16 | 6 | 45.16 | 0 | 0
| 2017 | 5 | 5 | 67.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 67.99 | 5 | 67.99 | 0 | 0
| 2018 |  | 70 | 890.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 232.56 | 0 | 0 | 71 | 1122.61 | 55 | 967.09 | 16 | 155.52
| 2019 |  | 30 | 273.07 | 0 | 1 | 23.79 | 7 | 2918.39 | 0 | 0 | 8 | 2942.18 | 0 | 0 | 0 | 0 | 38 | 3215.25 | 34 | 3169.38 | 4 | 45.87
| 2020 |  | 6979 | 60527.04 |  | 149 | 4967.89 | 126 | 46688.13 | 17 | 43007.12 | 292 | 94663.14 | 4 | 21016.08 | 0 | 0 | 7275 | 176206.26 | 6937 | 171917.42 | 338 | 4288.84
2017-01-01 | 2021 |  | 1496 | 13499.26 |  | 14 | 476.19 | 13 | 3575.11 | 2 | 3594.02 | 29 | 7645.32 | 0 | 0 | 4 | 9083.61 | 1529 | 30228.19 | 517 | 11117.79 | 1012 | 19110.4
| TI Total |  | 8586 | 75302.57 |  | 164 | 5467.87 | 146 | 53181.63 | 19 | 46601.14 | 329 | 105250.64 | 5 | 21248.64 | 4 | 9083.61 | 8924 | 210885.46 | 7554 | 187284.83 | 1370 | 23600.63
SRP & TI Programs
| 2000-2014 |  | 29215 | 228840.168 |  | 2998 | 94535.841 | 1572 | 478140.058 | 157 | 345159.984 | 4727 | 917835.883 | 124 | 309503.395 | 0 | 0 | 34066 | 1456179.446 | 34068 | 1456227.081 | -2 | -47.635
| 2015 |  | 12886 | 101916.82 |  | 110 | 3689.21 | 86 | 27254.1 | 7 | 21629.63 | 203 | 52572.94 | 8 | 41683.64 | 0 | 0 | 13097 | 196173.4 | 13097 | 196173.4 | 0 | 0
| 2016 |  | 21916 | 180306.27 |  | 211 | 6519.27 | 123 | 42752.5 | 18 | 42479.69 | 352 | 91751.46 | 22 | 136223.31 | 0 | 0 | 22290 | 408281.04 | 22290 | 408281.04 | 0 | 0
| 2017 |  | 18565 | 159002.225 |  | 282 | 9749.65 | 174 | 65123.59 | 22 | 57718.49 | 478 | 132591.73 | 8 | 60129.63 | 0 | 0 | 19051 | 351723.585 | 19051 | 351723.585 | 0 | 0
| 2018 |  | 17254 | 150365.03 |  | 329 | 10830.27 | 203 | 70258.75 | 26 | 56308.67 | 558 | 137397.69 | 5 | 43919.68 | 0 | 0 | 17817 | 331682.4 | 17801 | 331526.88 | 16 | 155.52
| 2019 |  | 15894 | 144435.95 |  | 333 | 11146.95 | 219 | 82362.7 | 40 | 137163.85 | 592 | 230673.5 | 7 | 77950.13 | 0 | 0 | 16493 | 453059.58 | 16489 | 453013.71 | 4 | 45.87
| 2020 |  | 13458 | 119871.08 |  | 275 | 8917.96 | 183 | 64435.23 | 22 | 56820.75 | 480 | 130173.94 | 10 | 66584.34 | 0 | 0 | 13948 | 316629.36 | 13607 | 312307.81 | 341 | 4321.55
| 2021 |  | 1504 | 13546.31 |  | 14 | 476.19 | 14 | 3767.87 | 2 | 3594.02 | 30 | 7838.08 | 0 | 0 | 4 | 9083.61 | 1538 | 30468 | 519 | 11313.35 | 1019 | 19154.65
| SRP & TI Program Totals |  | 130692 | 1098283.853 |  | 4552 | 145865.341 | 2574 | 834094.798 | 294 | 720875.084 | 7420 | 1700835.223 | 184 | 735994.125 | 4 | 9083.61 | 138300 | 3544196.811 | 136922 | 3520566.856 | 1378 | 23629.955

## Class I REC Generators (hidden)
Class I REC Generators that were issued PTO's between 1/1/2000 - 5/31/2003
The Solar Installation Report includes 61 projects totaling 1,260.67 kW that have been classified as Class I REC Generators
Note 1: PJM-GATs system is showing a total of 28 projects totaling 787.96 kW.
Note 2: The difference between the 61 projects in the solar installation report and the 28 projects in the GATs system is 33 projects. PJM-GATs does not have a record of these 33 generators registered in their system.
Registration Number | SRP Project Number | Program | Premise Last Name | Premise Company | Premise Installation Address (Commercial Only) | Premise City | Premise Zip | County Code | PTO Date (Interconnection Date) | Calculated Total System Size | Customer Type | Third Party Ownership | Grid / BTM | Subsection | Energy Year | EDC Program | Contractor Company | Electric Utility Name | Status | Acceptance Date | Completion Date
| UTIL-16 | CORE Solar | BROOKE |  |  | LAMBERTVILLE | 8530 | 4 | 2001-12-17 | 1.49 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-07-05 | 2001-12-17
| UTIL-17 | CORE Solar | KNOWLTON |  |  | FAIR HAVEN | 7704 | 17 | 2002-01-01 | 2.26 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-07-09 | 2001-12-17
| UTIL-15 | CORE Solar | BURNS |  |  | GREAT MEADOWS | 7838 | 2 | 2001-12-17 | 3.76 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-06-25 | 2001-12-17
| UTIL-18 | CORE Solar | GUINDON |  |  | OCEAN VIEW | 8230 | 21 | 2002-01-11 | 0.26 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2001-11-21 | 2002-01-11
| UTIL-20 | CORE Solar | SUKOVICH |  |  | RINGOES | 8551 | 4 | 2002-02-01 | 3.72 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-07-11 | 2002-03-05
| UTIL-21 | CORE Solar | STOCKS |  |  | LIVINGSTON | 7039 | 9 | 2002-02-27 | 2.26 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-07-13 | 2002-03-14
| UTIL-22 | CORE Solar | DERBY |  |  | MOUNT HOLLY | 8060 | 13 | 2002-03-21 | 1.9 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-08-06 | 2002-03-21
| UTIL-24 | CORE Solar | PLEVA |  |  | ALLENTOWN | 8501 | 17 | 2002-01-24 | 2.69 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-09-28 | 2002-04-11
| UTIL-71 | CORE Solar |  | RAMAPO COLLEGE |  | MAHWAH | 7430 | 7 | 2002-04-15 | 2 | University Public |  | Behind the Meter |  |  |  |  | Orange & Rockland Elec | Registration Complete | 2002-01-24 | 2002-04-15
| UTIL-25 | CORE Solar | MCFADDEN |  |  | DEMAREST | 7627 | 7 | 2002-04-15 | 2.26 | Residential |  | Behind the Meter |  |  |  |  | Orange & Rockland Elec | Registration Complete | 2001-09-18 | 2002-04-15
| UTIL-72 | CORE Solar |  | MONTCLAIR UNIVERSITY |  | MONTCLAIR | 7043 | 9 | 2002-05-06 | 2 | University Public |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-05-03 | 2002-05-06
| UTIL-27 | CORE Solar | CAFIERO |  |  | SHIP BOTTOM | 8008 | 18 | 2002-05-01 | 2.71 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-02-11 | 2002-06-13
| UTIL-28 | CORE Solar | GOLDEN |  |  | VILLAS | 8251 | 21 | 2002-06-17 | 0.89 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2001-07-18 | 2002-06-17
| UTIL-06 | CORE Solar |  | BJ'S WHOLESALE CLUB | 1910 DEPTFORD CENTER RD | DEPTFORD | 8096 | 15 | 2002-06-27 | 62.23 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2001-06-18 | 2002-06-27
| UTIL-30 | CORE Solar | JONES |  |  | HIGHLANDS | 7732 | 17 | 2002-05-01 | 2.69 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-03-15 | 2002-07-02
| UTIL-29 | CORE Solar | LOUGHLIN |  |  | FLEMINGTON | 8822 | 4 | 2002-06-01 | 3.46 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-09-12 | 2002-07-02
| UTIL-07 | CORE Solar |  | CORDIS | 33 TECHNOLOGY DR | WARREN | 7059 | 5 | 2002-07-03 | 68.4 | Commercial |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-06-21 | 2002-07-03
| UTIL-31 | CORE Solar | ONE |  |  | COLTS NECK | 7722 | 17 | 2002-07-23 | 8.37 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-09-05 | 2002-07-23
| UTIL-33 | CORE Solar | KLEIN |  |  | JACKSON | 8527 | 18 | 2002-08-01 | 1.5 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2001-11-08 | 2002-08-01
| UTIL-34 | CORE Solar | CELEBRE |  |  | RINGOES | 8551 | 4 | 2002-08-02 | 2.71 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-03-15 | 2002-08-21
| UTIL-36 | CORE Solar | BARBLOCK |  |  | WAYNE | 7470 | 6 | 2000-08-01 | 2.5 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-05-03 | 2002-09-23
| UTIL-37 | CORE Solar | MULVANEY |  |  | FLEMINGTON | 8822 | 4 | 2002-09-24 | 3.01 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-02-22 | 2002-09-24
| UTIL-38 | CORE Solar | MIDKIFF |  |  | BLAIRSTOWN | 7825 | 2 | 2002-08-01 | 1.84 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-05-15 | 2002-10-16
| UTIL-40 | CORE Solar | KINNEY |  |  | MEDFORD | 8055 | 13 | 2002-10-01 | 7.5 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-01-18 | 2002-11-22
| UTIL-08 | CORE Solar |  | IBEW LOCAL #269 BLDG 1 | 670 WHITEHEAD RD | LAWRENCE TOWNSHIP | 8648 | 12 | 2002-12-10 | 25.54 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-05-13 | 2002-12-10
| UTIL-09 | CORE Solar |  | IBEW LOCAL #269 BLDG 3 | 670 WHITEHEAD RD | LAWRENCE TOWNSHIP | 8648 | 12 | 2002-12-10 | 31.58 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-04-25 | 2002-12-10
| UTIL-10 | CORE Solar |  | WYETH (AMERICAN HOME PRODUCTS) | 5 GIRALDA FARMS | MADISON | 7940 | 3 | 2002-12-10 | 60.67 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-02-14 | 2002-12-10
| UTIL-41 | CORE Solar | JOHNSON |  |  | SHIP BOTTOM | 8008 | 18 | 2002-12-11 | 2.8 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-08-28 | 2002-12-11
| UTIL-42 | CORE Solar | KLINE |  |  | BARNEGAT LIGHT | 8006 | 18 | 2002-11-12 | 2.8 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-10-10 | 2002-12-11
| UTIL-43 | CORE Solar | BROOKE |  |  | LAMBERTVILLE | 8530 | 4 | 2002-12-16 | 2.92 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-02-05 | 2002-12-16
| UTIL-44 | CORE Solar | PHIFER |  |  | THOROFARE | 8086 | 15 | 2002-12-12 | 3.7 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-10-22 | 2002-12-24
| UTIL-11 | CORE Solar |  | BP (PAULSBORO TERMINAL) | 303 MANTUA AVE | PAULSBORO | 8066 | 15 | 2002-12-31 | 262.14 | Commercial |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-01-11 | 2002-12-31
| UTIL-46 | CORE Solar | RAFTER |  |  | WILLIAMSTOWN | 8094 | 15 | 2002-12-01 | 3.74 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-07-17 | 2003-01-06
| UTIL-47 | CORE Solar | LISTHAUS |  |  | LIVINGSTON | 7039 | 9 | 2003-01-01 | 10.26 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-05-14 | 2003-01-15
| UTIL-48 | CORE Solar | ROBBINS |  |  | MOUNT HOLLY | 8060 | 13 | 2002-12-11 | 2.27 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-10-11 | 2003-01-23
| UTIL-49 | CORE Solar | KLIMES |  |  | SOMERSET | 8873 | 5 | 2003-01-23 | 4.53 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-10-17 | 2003-01-23
| UTIL-50 | CORE Solar | WOOD |  |  | CAMDEN | 8110 | 14 | 2003-02-06 | 4.96 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-09-16 | 2003-02-06
| UTIL-51 | CORE Solar | WILLIAMS |  |  | SHIP BOTTOM | 8008 | 18 | 2003-02-11 | 2.48 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-11-07 | 2003-02-11
| UTIL-52 | CORE Solar | MEZIK |  |  | BRIDGETON | 8302 | 20 | 2003-02-25 | 9.94 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-09-30 | 2003-03-14
| UTIL-53 | CORE Solar | SAWHNEY |  |  | WEST ORANGE | 7052 | 9 | 2003-03-25 | 4.61 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-12-06 | 2003-03-25
| UTIL-54 | CORE Solar | EFFRON |  |  | BARNEGAT | 8005 | 18 | 2003-04-01 | 2.82 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2003-01-24 | 2003-04-16
| UTIL-55 | CORE Solar | ZEBROWSKI |  |  | BERLIN | 8009 | 14 | 2003-04-28 | 4.52 | Residential |  | Behind the Meter |  |  |  |  | AC Electric | Registration Complete | 2002-11-14 | 2003-04-28
| UTIL-56 | CORE Solar | MCCOY |  |  | MAPLEWOOD | 7040 | 9 | 2003-04-01 | 2.78 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-11-13 | 2003-05-08
| UTIL-57 | CORE Solar | MCCOLLOUGH |  |  | HOPEWELL | 8525 | 12 | 2003-03-26 | 4.79 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-11-23 | 2003-05-08
| UTIL-12 | CORE Solar |  | MARVIN NAFTAL | 2 DEGROAT RD | SANDYSTON | 7827 | 1 | 2003-05-11 | 4.19 | Commercial |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-07-25 | 2003-05-11
| UTIL-59 | CORE Solar | NAFTAL |  |  | SANDYSTON | 7827 | 1 | 2003-05-09 | 8.38 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-11-22 | 2003-05-11
| UTIL-13 | CORE Solar |  | MARVIN NAFTAL | 2 DEGROAT RD | SANDYSTON | 7827 | 1 | 2003-05-11 | 9.77 | Commercial |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2002-07-25 | 2003-05-11
| UTIL-14 | CORE Solar |  | JANSSEN PHARMACEUTICA | 1125 TRENTON HARBOURTON RD | TITUSVILLE | 8560 | 12 | 2003-05-23 | 479.8 | Commercial |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2002-08-09 | 2003-05-23
| UTIL-62 | CORE Solar | BURGHARDT |  |  | HOPEWELL | 8525 | 12 | 2003-05-09 | 2.8 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2003-03-28 | 2003-06-12
| UTIL-61 | CORE Solar | KRAMER |  |  | MONTCLAIR | 7042 | 9 | 2003-05-01 | 4.61 | Residential |  | Behind the Meter |  |  |  |  | PSE&G | Registration Complete | 2003-03-03 | 2003-06-12
| UTIL-66 | CORE Solar | CINCOTTA |  |  | OAK RIDGE | 7438 | 6 | 2003-05-29 | 2.88 | Residential |  | Behind the Meter |  |  |  |  | JCP&L | Registration Complete | 2003-03-03 | 2003-07-11
| BPU-0049 | CORE Solar | O'KANE |  |  | PORT MURRAY | 7865 | 2 | 2000-08-01 | 4.4 | Residential |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2003-06-11 | 2003-10-29
| BPU-0105 | CORE Solar | SCRANTON |  |  | HEWITT | 7421 | 6 | 2000-08-01 | 2.64 | Residential |  | Behind the Meter |  |  |  | SUN FARM NETWORK | Orange & Rockland Elec | Registration Complete | 2003-08-19 | 2003-11-10
| BPU-0120 | CORE Solar | MURRAY |  |  | BLAIRSTOWN | 7825 | 2 | 2000-10-01 | 2.31 | Residential |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2003-09-05 | 2003-12-03
| BPU-0073 | CORE Solar | MACGILLIS | GENESIS FARMS INC |  | BLAIRSTOWN | 7825 | 2 | 2000-11-01 | 9.2 | Farm |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2003-07-13 | 2003-12-29
| BPU-0385 | CORE Solar | MEZIK |  |  | BRIDGETON | 8302 | 20 | 2003-02-25 | 9.45 | Residential |  | Behind the Meter |  |  |  | SELF INSTALL | Conectiv | Registration Complete | 2004-05-27 | 2004-12-07
| BPU-0558 | CORE Solar | CAFIERO |  |  | HIGH BAR HARBOR | 8008 | 18 | 2002-05-01 | 2.64 | Residential |  | Behind the Meter |  |  |  | SELF INSTALL | Conectiv | Registration Complete | 2004-08-10 | 2004-12-14
| BPU-0796 | CORE Solar | MAC GILLIS | GENESIS FARMS-OFFICE COMPLEX |  | BLAIRSTOWN | 7825 | 2 | 2000-11-01 | 1.84 | Farm |  | Behind the Meter |  |  |  | SUN FARM NETWORK | JCP&L | Registration Complete | 2004-12-09 | 2005-02-02
| BPU-0181 | CORE Solar | MARCIANTE | IBEW | 658 WHITE HEAD ROAD | TRENTON | 8648 | 12 | 2002-10-30 | 8.88 | Commercial |  | Behind the Meter |  |  |  | ADVANCED SOLAR PRODUCTS, INC. | PSE&G | Registration Complete | 2003-11-14 | 2005-04-18
| BPU-1755 | CORE Solar | STANSLEY |  |  | HOPEWELL | 8525 | 12 | 2002-01-01 | 1.92 | Residential |  | Behind the Meter |  |  |  | NJ SOLAR SOLUTIONS | JCP&L | Registration Complete | 2005-10-18 | 2006-10-06
| SPP323 | SREC Solar | LAVIN | NEWPORT OFFCE CENTER III CO, LLC | 1384 POMPTON AVENUE | JERSEY CITY | 7310 | 8 | 2002-05-01 | 62.7 | Commercial |  | Behind the Meter |  |  |  | RESOURCE ENERGY SYSTEMS, INC | PSE&G | Registration Complete | 2008-10-01 | 2009-02-28

## Monthly Capacity
New Jersey Solar Installations SREC Registration Program (SRP) & Transition Incentive Program (TI) as of | [11 empty] | 2021-02-28 | (Monthly Capacity)
| Residential (kW) |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Non-Residential |  | Grid Supply (kW) |  |  | Community Solar (kW) |  | Total of All Projects as of 02/28/2021 (kW) |  | Previously Reported through 01/31/2021 |  | Difference between 01/31/201 and 02/28/2021
|  |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | Total (kW)
| Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity |  | Qty | Capacity | Total Qty | Total Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
SRP Program
Annual Totals in Aggregate
2000-2011 | 11158 | 85489.802 | 1961 | 55853.226 | 810 | 243408.337 | 74 | 147702.363 | 2845 | 446963.926 | 75 | 166176.851 |  | 0 | 0 | 14078 | 698630.579 | 14080 | 698678.214 | -2 | -47.635
2012 | 5286 | 42073.536 | 639 | 22885.777 | 425 | 123615.472 | 47 | 87882.441 | 1111 | 234383.69 | 23 | 56793.804 |  | 0 | 0 | 6420 | 333251.03 | 6420 | 333251.03 | 0 | 0
2013 | 5946 | 46545.186 | 281 | 11453.664 | 233 | 74992.531 | 26 | 64412.16 | 540 | 150858.355 | 18 | 23162.1 |  | 0 | 0 | 6504 | 220565.641 | 6504 | 220565.641 | 0 | 0
2014 | 6825 | 54731.644 | 117 | 4343.174 | 104 | 36123.718 | 10 | 45163.02 | 231 | 85629.912 | 8 | 63370.64 |  | 0 | 0 | 7064 | 203732.196 | 7064 | 203732.196 | 0 | 0
2015 | 12886 | 101916.82 | 110 | 3689.21 | 86 | 27254.1 | 7 | 21629.63 | 203 | 52572.94 | 8 | 41683.64 |  | 0 | 0 | 13097 | 196173.4 | 13097 | 196173.4 | 0 | 0
2016 | 21910 | 180261.11 | 211 | 6519.27 | 123 | 42752.5 | 18 | 42479.69 | 352 | 91751.46 | 22 | 136223.31 |  | 0 | 0 | 22284 | 408235.88 | 22284 | 408235.88 | 0 | 0
2017 | 18560 | 158934.235 | 282 | 9749.65 | 174 | 65123.59 | 22 | 57718.49 | 478 | 132591.73 | 8 | 60129.63 |  | 0 | 0 | 19046 | 351655.595 | 19046 | 351655.595 | 0 | 0
2018 | 17184 | 149474.98 | 329 | 10830.27 | 203 | 70258.75 | 26 | 56308.67 | 558 | 137397.69 | 4 | 43687.12 |  | 0 | 0 | 17746 | 330559.79 | 17746 | 330559.79 | 0 | 0
2019 | 15864 | 144162.88 | 332 | 11123.16 | 212 | 79444.31 | 40 | 137163.85 | 584 | 227731.32 | 7 | 77950.13 |  | 0 | 0 | 16455 | 449844.33 | 16455 | 449844.33 | 0 | 0
SRP 2000-2019 Total | 115619 | 963590.193 | 4262 | 136447.401 | 2370 | 762973.308 | 270 | 660460.314 | 6902 | 1559881.023 | 173 | 669177.225 |  | 0 | 0 | 122694 | 3192648.441 | 122696 | 3192696.076 | -2 | -47.635
2020-01-01 | 1735 | 15650.26 | 44 | 1056.29 | 14 | 4535.44 | 1 | 1415.88 | 59 | 7007.61 | 3 | 24789.75 |  | 0 | 0 | 1797 | 47447.62 | 1797 | 47447.62 | 0 | 0
2020-02-01 | 1403 | 12722.62 | 19 | 621.05 | 14 | 4289.58 | 2 | 9455.87 | 35 | 14366.5 | 0 | 0 |  | 0 | 0 | 1438 | 27089.12 | 1438 | 27089.12 | 0 | 0
2020-03-01 | 1517 | 13912.49 | 23 | 973.69 | 11 | 3391.39 | 1 | 1361.88 | 35 | 5726.96 | 0 | 0 |  | 0 | 0 | 1552 | 19639.45 | 1552 | 19639.45 | 0 | 0
2020-04-01 | 1095 | 10152.34 | 26 | 865.89 | 11 | 4286.83 | 0 | 0 | 37 | 5152.72 | 1 | 14397.75 |  | 0 | 0 | 1133 | 29702.81 | 1133 | 29702.81 | 0 | 0
2020-05-01 | 292 | 2800.79 | 3 | 102.76 | 2 | 505.2 | 0 | 0 | 5 | 607.96 | 1 | 3030.3 |  | 0 | 0 | 298 | 6439.05 | 298 | 6439.05 | 0 | 0
2020-06-01 | 218 | 2098.43 | 6 | 106.58 | 2 | 344.46 | 0 | 0 | 8 | 451.04 | 0 | 0 |  | 0 | 0 | 226 | 2549.47 | 226 | 2549.47 | 0 | 0
2020-07-01 | 116 | 1168.33 | 2 | 79.57 | 3 | 394.2 | 0 | 0 | 5 | 473.77 | 0 | 0 |  | 0 | 0 | 121 | 1642.1 | 121 | 1642.1 | 0 | 0
2020-08-01 | 37 | 347.3 | 1 | 45.26 | 0 | 0 | 1 | 1580 | 2 | 1625.26 | 0 | 0 |  | 0 | 0 | 39 | 1972.56 | 39 | 1972.56 | 0 | 0
2020-09-01 | 27 | 205.87 | 1 | 57.38 | 0 | 0 | 0 | 0 | 1 | 57.38 | 1 | 3350.46 |  | 0 | 0 | 29 | 3613.71 | 29 | 3613.71 | 0 | 0
2020-10-01 | 19 | 134.84 | 1 | 41.6 | 0 | 0 | 0 | 0 | 1 | 41.6 | 0 | 0 |  | 0 | 0 | 20 | 176.44 | 20 | 176.44 | 0 | 0
2020-11-01 | 11 | 82.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 11 | 82.47 | 10 | 72.07 | 1 | 10.4
2020-12-01 | 9 | 68.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 9 | 68.3 | 7 | 45.99 | 2 | 22.31
SRP 2020 Total | 6479 | 59344.04 | 126 | 3950.07 | 57 | 17747.1 | 5 | 13813.63 | 188 | 35510.8 | 6 | 45568.26 |  | 0 | 0 | 6673 | 140423.1 | 6670 | 140390.39 | 3 | 32.71
2021-01-01 | 7 | 41.27 | 0 | 0 | 1 | 192.76 | 0 | 0 | 1 | 192.76 | 0 | 0 |  | 0 | 0 | 8 | 234.03 | 2 | 195.56 | 6 | 38.47
2021-02-01 | 1 | 5.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 1 | 5.78 | 0 | 0 | 1 | 5.78
SRP 2021 Total | 8 | 47.05 | 0 | 0 | 1 | 192.76 | 0 | 0 | 1 | 192.76 | 0 | 0 |  | 0 | 0 | 9 | 239.81 | 2 | 195.56 | 7 | 44.25
SRP Total | 122106 | 1022981.283 | 4388 | 140397.471 | 2428 | 780913.168 | 275 | 674273.944 | 7091 | 1595584.583 | 179 | 714745.485 |  | 0 | 0 | 129376 | 3333311.351 | 129368 | 3333282.026 | 8 | 29.325
TI Program
Annual Totals in Aggregate
2015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 6 | 45.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 6 | 45.16 | 6 | 45.16 | 0 | 0
2017 | 5 | 67.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 5 | 67.99 | 5 | 67.99 | 0 | 0
2018 | 70 | 890.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 232.56 |  | 0 | 0 | 71 | 1122.61 | 55 | 967.09 | 16 | 155.52
2019 | 30 | 273.07 | 1 | 23.79 | 7 | 2918.39 | 0 | 0 | 8 | 2942.18 | 0 | 0 |  | 0 | 0 | 38 | 3215.25 | 34 | 3169.38 | 4 | 45.87
TI 2015-2019 Total | 111 | 1276.27 | 1 | 23.79 | 7 | 2918.39 | 0 | 0 | 8 | 2942.18 | 1 | 232.56 |  | 0 | 0 | 120 | 4451.01 | 100 | 4249.62 | 20 | 201.39
2020-01-01 | 17 | 149.98 | 0 | 0 | 5 | 1615.22 | 1 | 1270.08 | 6 | 2885.3 | 0 | 0 |  | 0 | 0 | 23 | 3035.28 | 19 | 2995 | 4 | 40.28
2020-02-01 | 9 | 103.41 | 3 | 68.87 | 1 | 155.52 | 0 | 0 | 4 | 224.39 | 0 | 0 |  | 0 | 0 | 13 | 327.8 | 10 | 281.37 | 3 | 46.43
2020-03-01 | 29 | 237.23 | 0 | 0 | 1 | 816.48 | 1 | 3489.75 | 2 | 4306.23 | 0 | 0 |  | 0 | 0 | 31 | 4543.46 | 30 | 4532.4 | 1 | 11.06
2020-04-01 | 39 | 361.17 | 0 | 0 | 3 | 672.1 | 1 | 2775 | 4 | 3447.1 | 0 | 0 |  | 0 | 0 | 43 | 3808.27 | 42 | 3796.93 | 1 | 11.34
2020-05-01 | 434 | 3768.62 | 6 | 245.13 | 3 | 1808.79 | 1 | 1321.6 | 10 | 3375.52 | 3 | 19477.62 |  | 0 | 0 | 447 | 26621.76 | 439 | 26539.43 | 8 | 82.33
2020-06-01 | 699 | 5952.59 | 16 | 567.11 | 10 | 3776.62 | 2 | 9164.39 | 28 | 13508.12 | 0 | 0 |  | 0 | 0 | 727 | 19460.71 | 714 | 19344.35 | 13 | 116.36
2020-07-01 | 898 | 7840.53 | 11 | 353.66 | 16 | 5794.19 | 1 | 5494.5 | 28 | 11642.35 | 0 | 0 |  | 0 | 0 | 926 | 19482.88 | 910 | 19377.93 | 16 | 104.95
2020-08-01 | 881 | 7610.17 | 24 | 567.37 | 13 | 4483.72 | 0 | 0 | 37 | 5051.09 | 0 | 0 |  | 0 | 0 | 918 | 12661.26 | 895 | 12503.38 | 23 | 157.88
2020-09-01 | 897 | 7855.35 | 20 | 774.29 | 12 | 4741.22 | 0 | 0 | 32 | 5515.51 | 1 | 1538.46 |  | 0 | 0 | 930 | 14909.32 | 905 | 14699.21 | 25 | 210.11
2020-10-01 | 873 | 7676.94 | 19 | 773.7 | 8 | 2684.11 | 3 | 4567.78 | 30 | 8025.59 | 0 | 0 |  | 0 | 0 | 903 | 15702.53 | 866 | 15405.21 | 37 | 297.32
2020-11-01 | 758 | 6413.56 | 18 | 1048.43 | 26 | 7504.78 | 2 | 3717.15 | 46 | 12270.36 | 0 | 0 |  | 0 | 0 | 804 | 18683.92 | 764 | 18353.43 | 40 | 330.49
2020-12-01 | 1445 | 12557.49 | 32 | 569.33 | 28 | 12635.38 | 5 | 11206.87 | 65 | 24411.58 | 0 | 0 |  | 0 | 0 | 1510 | 36969.07 | 1343 | 34088.78 | 167 | 2880.29
TI 2020 Total | 6979 | 60527.04 | 149 | 4967.89 | 126 | 46688.13 | 17 | 43007.12 | 292 | 94663.14 | 4 | 21016.08 |  | 0 | 0 | 7275 | 176206.26 | 6937 | 171917.42 | 338 | 4288.84
2021-01-01 | 910 | 8198.15 | 9 | 295.58 | 8 | 2713.91 | 1 | 1650.02 | 18 | 4659.51 | 0 | 0 |  | 3 | 7743.87 | 931 | 20601.53 | 517 | 11117.79 | 414 | 9483.74
2021-02-01 | 586 | 5301.11 | 5 | 180.61 | 5 | 861.2 | 1 | 1944 | 11 | 2985.81 | 0 | 0 |  | 1 | 1339.74 | 598 | 9626.66 | 0 | 0 | 598 | 9626.66
TI 2021 Total | 1496 | 13499.26 | 14 | 476.19 | 13 | 3575.11 | 2 | 3594.02 | 29 | 7645.32 | 0 | 0 |  | 4 | 9083.61 | 1529 | 30228.19 | 517 | 11117.79 | 1012 | 19110.4
TI Total | 8586 | 75302.57 | 164 | 5467.87 | 146 | 53181.63 | 19 | 46601.14 | 329 | 105250.64 | 5 | 21248.64 |  | 4 | 9083.61 | 8924 | 210885.46 | 7554 | 187284.83 | 1370 | 23600.63
SRP & TI Program Totals
2000-2019 Total | 115730 | 964866.463 | 4263 | 136471.191 | 2377 | 765891.698 | 270 | 660460.314 | 6910 | 1562823.203 | 174 | 669409.785 |  | 0 | 0 | 122814 | 3197099.451 | 122796 | 3196945.696 | 18 | 153.755
2020-01-01 | 1752 | 15800.24 | 44 | 1056.29 | 19 | 6150.66 | 2 | 2685.96 | 65 | 9892.91 | 3 | 24789.75 |  | 0 | 0 | 1820 | 50482.9 | 1816 | 50442.62 | 4 | 40.28
2020-02-01 | 1412 | 12826.03 | 22 | 689.92 | 15 | 4445.1 | 2 | 9455.87 | 39 | 14590.89 | 0 | 0 |  | 0 | 0 | 1451 | 27416.92 | 1448 | 27370.49 | 3 | 46.43
2020-03-01 | 1546 | 14149.72 | 23 | 973.69 | 12 | 4207.87 | 2 | 4851.63 | 37 | 10033.19 | 0 | 0 |  | 0 | 0 | 1583 | 24182.91 | 1582 | 24171.85 | 1 | 11.06
2020-04-01 | 1134 | 10513.51 | 26 | 865.89 | 14 | 4958.93 | 1 | 2775 | 41 | 8599.82 | 1 | 14397.75 |  | 0 | 0 | 1176 | 33511.08 | 1175 | 33499.74 | 1 | 11.34
2020-05-01 | 726 | 6569.41 | 9 | 347.89 | 5 | 2313.99 | 1 | 1321.6 | 15 | 3983.48 | 4 | 22507.92 |  | 0 | 0 | 745 | 33060.81 | 737 | 32978.48 | 8 | 82.33
2020-06-01 | 917 | 8051.02 | 22 | 673.69 | 12 | 4121.08 | 2 | 9164.39 | 36 | 13959.16 | 0 | 0 |  | 0 | 0 | 953 | 22010.18 | 940 | 21893.82 | 13 | 116.36
2020-07-01 | 1014 | 9008.86 | 13 | 433.23 | 19 | 6188.39 | 1 | 5494.5 | 33 | 12116.12 | 0 | 0 |  | 0 | 0 | 1047 | 21124.98 | 1031 | 21020.03 | 16 | 104.95
2020-08-01 | 918 | 7957.47 | 25 | 612.63 | 13 | 4483.72 | 1 | 1580 | 39 | 6676.35 | 0 | 0 |  | 0 | 0 | 957 | 14633.82 | 934 | 14475.94 | 23 | 157.88
2020-09-01 | 924 | 8061.22 | 21 | 831.67 | 12 | 4741.22 | 0 | 0 | 33 | 5572.89 | 2 | 4888.92 |  | 0 | 0 | 959 | 18523.03 | 934 | 18312.92 | 25 | 210.11
2020-10-01 | 892 | 7811.78 | 20 | 815.3 | 8 | 2684.11 | 3 | 4567.78 | 31 | 8067.19 | 0 | 0 |  | 0 | 0 | 923 | 15878.97 | 886 | 15581.65 | 37 | 297.32
2020-11-01 | 769 | 6496.03 | 18 | 1048.43 | 26 | 7504.78 | 2 | 3717.15 | 46 | 12270.36 | 0 | 0 |  | 0 | 0 | 815 | 18766.39 | 774 | 18425.5 | 41 | 340.89
2020-12-01 | 1454 | 12625.79 | 32 | 569.33 | 28 | 12635.38 | 5 | 11206.87 | 65 | 24411.58 | 0 | 0 |  | 0 | 0 | 1519 | 37037.37 | 1350 | 34134.77 | 169 | 2902.6
SRP & TI 2020 Total | 13458 | 119871.08 | 275 | 8917.96 | 183 | 64435.23 | 22 | 56820.75 | 480 | 130173.94 | 10 | 66584.34 |  | 0 | 0 | 13948 | 316629.36 | 13607 | 312307.81 | 341 | 4321.55
2021-01-01 | 917 | 8239.42 | 9 | 295.58 | 9 | 2906.67 | 1 | 1650.02 | 19 | 4852.27 | 0 | 0 |  | 3 | 7743.87 | 939 | 20835.56 | 519 | 11313.35 | 420 | 9522.21
2021-02-01 | 587 | 5306.89 | 5 | 180.61 | 5 | 861.2 | 1 | 1944 | 11 | 2985.81 | 0 | 0 |  | 1 | 1339.74 | 599 | 9632.44 | 0 | 0 | 599 | 9632.44
SRP & TI 2021 Total | 1504 | 13546.31 | 14 | 476.19 | 14 | 3767.87 | 2 | 3594.02 | 30 | 7838.08 | 0 | 0 |  | 4 | 9083.61 | 1538 | 30468 | 519 | 11313.35 | 1019 | 19154.65
SRP & TI Program Totals | 130692 | 1098283.853 | 4552 | 145865.341 | 2574 | 834094.798 | 294 | 720875.084 | 7420 | 1700835.223 | 184 | 735994.125 |  | 4 | 9083.61 | 138300 | 3544196.811 | 136922 | 3520566.856 | 1378 | 23629.955

## Interconnection & Customer Type
New Jersey Solar Installations SRP & TI as of |  |  | 2021-02-28
by Interconnection Type
Interconnection Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Behind the Meter | 138112 | 2799119.076 | 78.98%
Grid Supply | 184 | 735994.125 | 20.77%
Community Solar | 4 | 9083.61 | 0.2563%
Total | 138300 | 3544196.811 | 100%
BEHIND THE METER Project Installations
| SRP Program |  |  | TI Program |  |  | SRP & TI Program
Customer Type | # Projects | Installed Capacity (kW) | % of Installed Capacity | # Projects | Installed Capacity (kW) | % of Installed Capacity | # Projects | Installed Capacity (kW) | % of Installed Capacity
Commercial | 4958 | 1202364.644 | 45.92% | 228 | 79462.36 | 44.01% | 5186 | 1281827.004 | 45.79%
Farm | 187 | 9919.031 | 0.3788% | 8 | 244.63 | 0.1355% | 195 | 10163.661 | 0.3631%
Government | 100 | 29250.197 | 1.117% | 3 | 828.59 | 0.4589% | 103 | 30078.787 | 1.075%
Municipality | 274 | 56241.113 | 2.148% | 3 | 3641.52 | 2.017% | 277 | 59882.633 | 2.139%
Non Profit | 702 | 54018.459 | 2.063% | 34 | 2865.21 | 1.587% | 736 | 56883.669 | 2.032%
Private University | 13 | 1229.587 | 0.04696% | 0 | 0 | 0% | 13 | 1229.587 | 0.04393%
Public University | 52 | 28850.493 | 1.102% | 0 | 0 | 0% | 52 | 28850.493 | 1.031%
Residential | 122106 | 1022981.283 | 39.07% | 8586 | 75302.57 | 41.71% | 130692 | 1098283.853 | 39.24%
School Charter | 1 | 209.3 | 0.007993% | 0 | 0 | 0% | 1 | 209.3 | 0.007477%
School Other | 116 | 37475.487 | 1.431% | 5 | 1930.1 | 1.069% | 121 | 39405.587 | 1.408%
School Public K-12 | 629 | 174502.911 | 6.664% | 48 | 16278.23 | 9.016% | 677 | 190781.141 | 6.816%
Sunlit | 59 | 1523.361 | 0.05818% | 0 | 0 | 0% | 59 | 1523.361 | 0.05442%
Total | 129197 | 2618565.866 | 100% | 8915 | 180553.21 | 100% | 138112 | 2799119.076 | 100%
COMMUNITY SOLAR Installations
TI Program
Customer Type | # Projects | Installed Capacity (kW) | % of Installed Capacity
Commercial | 4 | 9083.61 | 0.3469%
Farm | 0 | 0 | 0%
Government | 0 | 0 | 0%
Municipality | 0 | 0 | 0%
Non Profit | 0 | 0 | 0%
Private University | 0 | 0 | 0%
Public University | 0 | 0 | 0%
Residential | 0 | 0 | 0%
School Charter | 0 | 0 | 0%
School Other | 0 | 0 | 0%
School Public K-12 | 0 | 0 | 0%
Sunlit | 0 | 0 | 0%
Total | 4 | 9083.61 | 0.3469%
GRID SUPPLY Project Installations |  |  |  | Previously Reported through 01/31/2021 |  | Difference between 01/31/201 and 02/28/2021
SRP Program
Description (by Subsection) | Project Qty | Installed Capacity (kW) | % of Installed Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
EDC | 80 | 80859.649 | 11.31% | 80 | 80859.649 | 0 | 0
Subsection q | 31 | 194412.08 | 27.2% | 31 | 194412.08 | 0 | 0
Subsection r | 2 | 42956.33 | 6.01% | 2 | 42956.33 | 0 | 0
Subsection s | 12 | 94478.23 | 13.22% | 12 | 94478.23 | 0 | 0
Subsection t | 21 | 179513.48 | 25.12% | 21 | 179513.48 | 0 | 0
Pre Solar Act | 33 | 122525.716 | 17.14% | 33 | 122525.716 | 0 | 0
Totals | 179 | 714745.485 | 100% | 179 | 714745.485 | 0 | 0
Difference between 01/31/201 and 02/28/2021
TI Program |  |  |  | Previously Reported through 01/31/2021
Description (by Subsection) | Project Qty | Installed Capacity (kW) | % of Installed Capacity | Total Qty | Total Capacity (kW) | Total Qty | Total Capacity (kW)
Subsection r | 1 | 4779 | 0.6686% | 1 | 4779 | 0 | 0
Subsection t | 4 | 16469.64 | 2.304% | 4 | 16469.64 | 0 | 0
Totals | 5 | 21248.64 | 2.973% | 5 | 21248.64 | 0 | 0

## Project Type
TI Solar Installations by Project Type as of |  |  | 2021-02-28
Project Type | Factor | # Projects | Installed Capacity (kW) | % of Installed Capacity
Subsection (t): landfill, brownfield, areas of historic fill | 1 | 4 | 16469.64 | 7.826%
Grid supply (subsection (r )) rooftop | 1 | 1 | 4779 | 2.271%
Net-metered non-residential rooftop and canopy | 1 | 300 | 96613.32 | 45.91%
Community Solar | 0.85 | 4 | 9083.61 | 4.316%
Floating Solar | 0.6 |  |  | 0%
Grid supply (subsection (r )) ground mount | 0.6 |  |  | 0%
Net-metered residential ground mount | 0.6 | 109 | 1687.6 | 0.8019%
Net-metered residential rooftop and canopy | 0.6 | 8443 | 73458.95 | 34.91%
Net-metered non-residential ground mount | 0.6 | 12 | 8350.31 | 3.968%
|  | 8873 | 210442.43 | 100%
Note: Applications with a status of Eligible for TI are not included in the above table. These applications have not yet selected the project type to complete the transfer to the TI program:
Eligible for TI Status |  | 51 | 443.03

## TPO Summary
New Jersey Solar Installations SRP & TI as of |  |  |  |  | 2021-02-28
BEHIND THE METER Project Installations
Summary of Third Party Ownership (TPO)
|  | SRP Program |  |  |  | TI Program |  |  | SRP & TI Programs
|  | ALL Customer Types |  |  |  | ALL Customer Types |  |  | ALL Customer Types
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity |  | Project Qty | Total Capacity (kW) | Percent of Capacity | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 36373 | 984631.442 | 37.6% |  | 3350 | 79579.28 | 44.08% | 39723 | 1064210.722 | 38.02%
Yes | Used TPO | 92824 | 1633934.424 | 62.4% |  | 5565 | 100973.93 | 55.92% | 98389 | 1734908.354 | 61.98%
Totals |  | 129197 | 2618565.866 | 100% |  | 8915 | 180553.21 | 100% | 138112 | 2799119.076 | 100%
|  | RESIDENTIAL Only |  |  |  | RESIDENTIAL Only |  |  | RESIDENTIAL Only
TPO Code | Description | Project Qty | Total Capacity (kW) | Percent of Capacity |  | Project Qty | Total Capacity (kW) | Percent of Capacity | Project Qty | Total Capacity (kW) | Percent of Capacity
No | Did Not use TPO | 31925 | 287323.263 | 28.09% |  | 3204 | 30681.12 | 40.74% | 35129 | 318004.383 | 28.95%
Yes | Used TPO | 90181 | 735658.02 | 71.91% |  | 5382 | 44621.45 | 59.26% | 95563 | 780279.47 | 71.05%
Totals |  | 122106 | 1022981.283 | 100% |  | 8586 | 75302.57 | 100% | 130692 | 1098283.853 | 100%
Note: The above tables provide a summary of responses regarding the use of Third Party Ownership (TPO) as reported on the SRP Registration form by the registrant.

## Installations by County
0
|  | New Jersey Solar Installations SRP & TI as of | [18 empty] | 2021-02-28
Cumulative SRP & TI Programs by County
|  |  | Residential |  | < = 100 (kW) |  | > 100 to < 1000 (kW) |  | > = 1000 (kW) |  | <=100 to >=1000 Total (kW) |  | Grid Supply |  | Community Solar |  | Total of All Projects as of 02/28/2021 (kW) |  |  | Previously Reported through 01/31/2021 |  | Difference between 01/31/201 and 02/28/2021
|  | County | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Total Qty | Total Capacity | % Installed Capacity | # Projects | Installed Capacity (Kw) | # Projects | Installed Capacity (Kw)
| 1 | Sussex | 1239 | 12304.627 | 105 | 3792.632 | 48 | 16806.357 | 3 | 9960.57 | 156 | 30559.559 | 5 | 33383.09 | 0 | 0 | 1400 | 76247.276 | 2.151% | 1382 | 76056.206 | 18 | 191.07
| 2 | Warren | 1160 | 10974.856 | 86 | 2151.271 | 38 | 15506.396 | 5 | 30565.85 | 129 | 48223.517 | 8 | 53167.504 | 0 | 0 | 1297 | 112365.877 | 3.17% | 1294 | 112324.867 | 3 | 41.01
| 3 | Morris | 3369 | 27950.501 | 160 | 6425.996 | 137 | 44850.48 | 13 | 36302.54 | 310 | 87579.016 | 1 | 2936.64 | 0 | 0 | 3680 | 118466.157 | 3.343% | 3644 | 117122.517 | 36 | 1343.64
| 4 | Hunterdon | 1740 | 18441.201 | 144 | 3194.931 | 25 | 7999.69 | 5 | 8904.18 | 174 | 20098.801 | 12 | 72299.075 | 0 | 0 | 1926 | 110839.077 | 3.127% | 1912 | 110700.597 | 14 | 138.48
| 5 | Somerset | 4237 | 36181.009 | 183 | 6547.364 | 158 | 47694.762 | 26 | 53542.241 | 367 | 107784.367 | 3 | 5755.86 | 0 | 0 | 4607 | 149721.236 | 4.224% | 4564 | 149315.276 | 43 | 405.96
| 6 | Passaic | 3462 | 25731.462 | 140 | 4121.984 | 118 | 35829.66 | 7 | 12718.864 | 265 | 52670.508 | 5 | 3514.01 | 0 | 0 | 3732 | 81915.98 | 2.311% | 3695 | 81615.98 | 37 | 300
| 7 | Bergen | 6124 | 44291.761 | 298 | 12095.851 | 225 | 66985.551 | 11 | 19610.74 | 534 | 98692.142 | 2 | 2688.92 | 0 | 0 | 6660 | 145672.823 | 4.11% | 6592 | 145148.233 | 68 | 524.59
| 8 | Hudson | 1615 | 10271.291 | 111 | 4865.659 | 152 | 53610.294 | 16 | 28210.572 | 279 | 86686.525 | 7 | 9077.125 | 1 | 1339.74 | 1902 | 107374.681 | 3.03% | 1873 | 105255.781 | 29 | 2118.9
| 9 | Essex | 4320 | 29007.616 | 187 | 5872.992 | 108 | 33973.616 | 9 | 18279.989 | 304 | 58126.597 | 15 | 12831.09 | 0 | 0 | 4639 | 99965.303 | 2.821% | 4576 | 99499.493 | 63 | 465.81
| 10 | Union | 5854 | 40180.169 | 171 | 7523.106 | 135 | 40896.868 | 14 | 23578.346 | 320 | 71998.32 | 10 | 6375.695 | 0 | 0 | 6184 | 118554.184 | 3.345% | 6104 | 117770.494 | 80 | 783.69
| 11 | Middlesex | 11613 | 90798.219 | 234 | 8361.416 | 329 | 123447.197 | 60 | 134953.248 | 623 | 266761.861 | 31 | 80328.971 | 2 | 6952.23 | 12269 | 444841.281 | 12.55% | 12123 | 438877.101 | 146 | 5964.18
| 12 | Mercer | 4631 | 38900.588 | 246 | 8120.16 | 131 | 43069.877 | 25 | 73299.478 | 402 | 124489.515 | 14 | 32943.985 | 0 | 0 | 5047 | 196334.088 | 5.54% | 4985 | 194287.758 | 62 | 2046.33
| 13 | Burlington | 10862 | 95419.07 | 353 | 10445.277 | 157 | 51248.146 | 25 | 63643.102 | 535 | 125336.525 | 21 | 160337.495 | 0 | 0 | 11418 | 381093.09 | 10.75% | 11301 | 379284.245 | 117 | 1808.845
| 14 | Camden | 10243 | 84987.125 | 235 | 8083.627 | 147 | 49257.93 | 17 | 36204.646 | 399 | 93546.203 | 14 | 27684.155 | 1 | 791.64 | 10657 | 207009.123 | 5.841% | 10508 | 204671.643 | 149 | 2337.48
| 15 | Gloucester | 9058 | 84023.529 | 195 | 5692.506 | 90 | 32336.843 | 14 | 43275.71 | 299 | 81305.059 | 5 | 24438.275 | 0 | 0 | 9362 | 189766.863 | 5.354% | 9251 | 188710.943 | 111 | 1055.92
| 16 | Salem | 2592 | 28052.45 | 149 | 4310.991 | 21 | 5898.055 | 2 | 2955.3 | 172 | 13164.346 | 3 | 22196.885 | 0 | 0 | 2767 | 63413.681 | 1.789% | 2742 | 63156.861 | 25 | 256.82
| 17 | Monmouth | 11003 | 95156.983 | 488 | 14005.103 | 177 | 53103.433 | 14 | 37887.436 | 679 | 104995.972 | 13 | 106655.39 | 0 | 0 | 11695 | 306808.345 | 8.657% | 11600 | 305926.985 | 95 | 881.36
| 18 | Ocean | 18879 | 160036.44 | 354 | 10125.548 | 187 | 52183.91 | 9 | 44523.52 | 550 | 106832.978 | 2 | 20501.25 | 0 | 0 | 19431 | 287370.668 | 8.108% | 19297 | 286153.138 | 134 | 1217.53
| 19 | Atlantic | 10568 | 93960 | 348 | 9397.216 | 110 | 31570.769 | 7 | 12944.48 | 465 | 53912.465 | 4 | 19549.58 | 0 | 0 | 11037 | 167422.045 | 4.724% | 10942 | 166544.145 | 95 | 877.9
| 20 | Cumberland | 3521 | 31825.343 | 137 | 4318.775 | 50 | 18302.7 | 11 | 27679.712 | 198 | 50301.187 | 9 | 39329.13 | 0 | 0 | 3728 | 121455.66 | 3.427% | 3693 | 119200.51 | 35 | 2255.15
| 21 | Cape May | 4602 | 39789.613 | 228 | 6412.936 | 31 | 9522.264 | 1 | 1834.56 | 260 | 17769.76 | 0 | 0 | 0 | 0 | 4862 | 57559.373 | 1.624% | 4844 | 58944.083 | 18 | -1384.71
|  | TOTALS | 130692 | 1098283.853 | 4552 | 145865.341 | 2574 | 834094.798 | 294 | 720875.084 | 7420 | 1700835.223 | 184 | 735994.125 | 4 | 9083.61 | 138300 | 3544196.811 | 100% | 136922 | 3520566.856 | 1378 | 23629.955
Note: Once a Permission to Operate (PTO) is received, the date is updated in our system and the capacity listed in the initial registration is included in the installation report. Although the PTO was received, the capacity is not updated in our system until the final as-built has been received and reviewed.

## Definitions
SRP & TI Registration Program Status Definitions |  | Description of Codes Used In Project List
Accepted | An SRP Registration has been reviewed and an SRP Acceptance letter has been issued | County Code | County | TPO Code | Description
|  | 1 | Sussex | No | Did Not use TPO
As-Built Complete | Documents have been approved by program staff. Applicant will receive an email indicating a waiver of inspection or that an onsite inspection will be required | 2 | Warren | Yes | Used TPO
|  | 3 | Morris | Blank | Unknown
As-Built Incomplete | Program staff has found minor issue(s) for the contractor to address. An email has been sent to the applicant indicating the required deficiencies | 4 | Hunterdon | TPO = Third Party Ownership
|  | 5 | Somerset
As-Built Incomplete - Review | The contractor has submitted the requested deficiencies. The program staff will review the deficiencies | 6 | Passaic
|  | 7 | Bergen
Final As-Built Received | The Final As-Built packet has been submitted and the program staff will review the As-Built documentation | 8 | Hudson
|  | 9 | Essex
Final As-Built Received - Grid-Supply | The Final As-Built packet has been submitted and the program staff will review the As-Built documentation | 10 | Union
|  | 11 | Middlesex
Onsite Inspection | The SRP Registration has been randomly selected for an on-site inspection and will be performed by an SRP Program Inspector | 12 | Mercer
|  | 13 | Burlington
Onsite Inspection Fail | The SRP Registration has been randomly selected for an on-site inspection and is performed by an SRP Program Inspector and been deemed as a failed inspection | 14 | Camden
|  | 15 | Gloucester
Eligible for TI Program | Represents projects that have requested to be transferred from SRP to TI program and are waiting for the project type to be selected to complete transfer. Once transferred, the status will go back to the original SRP status | 16 | Salem
|  | 17 | Monmouth
PTO Waiver Granted | A waiver request was submitted in the online SRP portal requesting extended time for the SRP registration to obtain final inspection and permission to operate and the request was granted | 18 | Ocean
|  | 19 | Atlantic
PTO Waiver Request | A waiver request was submitted in the online SRP portal requesting extended time for the SRP registration to obtain final inspection and permission to operate | 20 | Cumberland
|  | 21 | Cape May
PTO Waiver Request Incomplete | A waiver request was submitted in the SRP online portal and the waiver request was deemed incomplete due to missing documentation. An email was issued requesting the missing information
PTO Waiver Requested-Review | The deficiencies have been submitted for the PTO Waiver Request. The program staff will review the deficiencies for accuracy
Registration Complete | The inspection has passed or the verification waiver notice has been sent. The project is complete and the NJ Certification Number was emailed to the system owner
Onsite Inspection - Fail