## Pipeline - Solar Summary
SRP Solar Project Pipeline by Interconnection Type |  |  | Previously Reported in SRP through 02/28/2022 |  | TI Solar Project Pipeline by Interconnection Type |  |  |  | Previously Reported through 09/30/2022 |  | ADI Solar Project Pipeline by Interconnection Type |  |  |  | Previously Reported through 09/30/2022 |  | TI & ADI Solar Project Pipeline by Interconnection Type
as of 03/31/2022 |  |  |  |  | as of 10/31/2022
Interconnection Type | Project Pipeline Qty | Total Pipeline Capacity (kW) | Project | Total Pipeline | Interconnection Type | Project Pipeline Qty | Total Pipeline Capacity (kW) | % of | Project | Total Pipeline | Interconnection Type | Project Pipeline Qty | Total Pipeline Capacity (kW) | % of | Project | Total Pipeline | Interconnection Type | Project Pipeline Qty | Total Pipeline Capacity (kW) | % of
|  |  | Pipeline Qty | Capacity (kW) |  |  |  | Pipeline Capacity | Pipeline Qty | Capacity (kW) |  |  |  | Pipeline Capacity | Pipeline Qty | Capacity (kW) |  |  |  | Pipeline Capacity
Behind the Meter | 0 | 0 | 0 | 0 | Behind the Meter | 576 | 5783.8 | 0.9805% | 874 | 8329.44 | Behind the Meter | 11976 | 104471.99 | 69.3% | 11703 | 101986.72 | Behind the Meter | 12552 | 110255.79 | 18.69%
(Residential) |  |  |  |  | (Residential) | [5 empty] | (Residential) | [5 empty] | (Residential)
Behind the Meter | 0 | 0 | 0 | 0 | Behind the Meter | 142 | 6027.4 | 1.022% | 160 | 6636.77 | Behind the Meter | 49 | 1716.93 | 1.139% | 43 | 1453.72 | Behind the Meter | 191 | 7744.33 | 1.313%
(Non-Residential) |  |  |  |  | (Non-Residential) | [5 empty] | (Non-Residential) | [5 empty] | (Non-Residential)
< = 100 kW |  |  |  |  | < = 100 kW | [5 empty] | < = 100 kW | [5 empty] | < = 100 kW
Behind the Meter | 0 | 0 | 0 | 0 | Behind the Meter | 316 | 131581.33 | 22.31% | 354 | 148523.85 | Behind the Meter | 46 | 17891.47 | 11.87% | 32 | 11608.66 | Behind the Meter | 362 | 149472.8 | 25.34%
(Non-Residential) |  |  |  |  | (Non-Residential) | [5 empty] | (Non-Residential) | [5 empty] | (Non-Residential)
> 100 kW to < 1000 kW |  |  |  |  | > 100 kW to < 1000 kW | [5 empty] | > 100 kW to < 1000 kW | [5 empty] | > 100 kW to < 1000 kW
Behind the Meter | 0 | 0 | 0 | 0 | Behind the Meter | 72 | 180297.75 | 30.57% | 84 | 230222.87 | Behind the Meter | 17 | 26676.05 | 17.69% | 6 | 13563.52 | Behind the Meter | 89 | 206973.8 | 35.09%
(Non-Residential) |  |  |  |  | (Non-Residential) | [5 empty] | (Non-Residential) | [5 empty] | (Non-Residential)
> = 1000 kW |  |  |  |  | > = 1000 kW | [5 empty] | > = 1000 kW | [5 empty] | > = 1000 kW
Total BTM | 0 | 0 | 0 | 0 | Total BTM | 1106 | 323690.28 | 54.87% | 1472 | 393712.93 | Total BTM | 12088 | 150756.44 | 100% | 11784 | 128612.62 | Total BTM | 13194 | 474446.72 | 64.06%
Grid Supply | 0 | 0 | 0 | 0 | Grid Supply | 8 | 101975.92 | 17.29% | 8 | 101975.92 | Grid Supply | 0 | 0 | 0% | 0 | 0 | Grid Supply | 8 | 101975.92 | 13.77%
Community Solar | 0 | 0 | 0 | 0 | Community Solar | 105 | 164202.66 | 27.84% | 108 | 172571.56 | Community Solar | 0 | 0 | 0% | 0 | 0 | Community Solar | 105 | 164202.66 | 22.17%
Total BTM & Grid (SRP) | 0 | 0 | 0 | 0 | Total BTM, Grid & Community Solar (TI) | 1219 | 589868.86 | 100% | 1588 | 668260.41 | Total BTM, Grid & Community Solar (TI) | 12088 | 150756.44 | 100% | 11784 | 128612.62 | Total BTM, Grid & Community Solar (SRP, TI & ADI) | 13307 | 740625.3 | 100%
Note: The ADI Pipeline Data includes only those Registrations that have been accepted and does not include those registrations that have been received. This data for those projects against the capacity block can be found separately on our website at njcleanenergy.com/renewable-energy/project-activity-reports/project-activity-reports

## Interconnection & Customer Type
New Jersey Solar Project Pipeline (TI & ADI) by Interconnection Type
as of 10/31/2022
Interconnection Type | # Projects | Pipeline Capacity (kW) | % of Pipeline Capacity
Behind the Meter | 13194 | 474446.72 | 64.06%
Grid Supply | 8 | 101975.92 | 13.77%
Community Solar | 105 | 164202.66 | 22.17%
Total | 13307 | 740625.3 | 100%
BEHIND THE METER Project Pipeline by Customer Type
| TI Program |  |  | ADI Program |  |  | TI & ADI Program
Customer Type | # Projects | Pipeline Capacity (kW) | % Pipeline of Capacity | # Projects | Pipeline Capacity (kW) | % Pipeline of Capacity | # Projects | Pipeline Capacity (kW) | % Pipeline of Capacity
Commercial | 284 | 183291.15 | 56.63% | 96 | 37409.88 | 24.81% | 380 | 220701.03 | 46.52%
Farm | 2 | 287.05 | 0.08868% | 2 | 24.8 | 0.01645% | 4 | 311.85 | 0.06573%
Government | 43 | 46867.91 | 14.48% | 0 | 0 | 0% | 43 | 46867.91 | 9.878%
Municipality | 7 | 930.91 | 0.2876% | 2 | 4148.28 | 2.752% | 9 | 5079.19 | 1.071%
Non Profit | 32 | 8793.49 | 2.717% | 4 | 205.76 | 0.1365% | 36 | 8999.25 | 1.897%
Private University | 0 | 0 | 0% | 0 | 0 | 0% | 0 | 0 | 0%
Public University | 34 | 30156.7 | 9.317% | 0 | 0 | 0% | 34 | 30156.7 | 6.356%
Residential | 576 | 5783.8 | 1.787% | 11976 | 104471.99 | 69.3% | 12552 | 110255.79 | 23.24%
School Charter | 3 | 641.24 | 0.1981% | 0 | 0 | 0% | 3 | 641.24 | 0.1352%
School Other | 7 | 3498.71 | 1.081% | 4 | 3462.23 | 2.297% | 11 | 6960.94 | 1.467%
School Public K-12 | 118 | 43439.32 | 13.42% | 4 | 1033.5 | 0.6855% | 122 | 44472.82 | 9.374%
Total | 1106 | 323690.28 | 100% | 12088 | 150756.44 | 100% | 13194 | 474446.72 | 100%
COMMUNITY SOLAR Project Pipeline by Customer Type
| TI Program |  |  | ADI Program |  |  | TI & ADI Program
Customer Type | # Projects | Pipeline Capacity (kW) | % of Pipeline Capacity | # Projects | Pipeline Capacity (kW) | % of Pipeline Capacity | # Projects | Pipeline Capacity (kW) | % of Pipeline Capacity
Commercial | 105 | 164202.66 | 100% | 0 | 0 | 0% | 105 | 164202.66 | 100%
Total | 105 | 164202.66 | 100% | 0 | 0 | 0% | 105 | 164202.66 | 100%
GRID SUPPLY Project Pipeline by Subsection
|  |  |  | Previously Reported through 09/30/2022 |  |  | Difference between last month and this month
TI Program
Description (by Subsection) | Project Qty | Pipeline Capacity (kW) | % of Pipeline Capacity | Total Qty | Total Pipeline Capacity (kW) |  | Total Qty | Total Pipeline Capacity (kW)
Subsection r | 0 | 0 | 0% | 0 | 0 |  | 0 | 0
Subsection t | 8 | 101975.92 | 100% | 8 | 101975.92 |  | 0 | 0
Totals | 8 | 101975.92 | 100% | 8 | 101975.92 |  | 0 | 0
ADI Program
Description (by Subsection) | Project Qty | Pipeline Capacity (kW) | % of Pipeline Capacity | Total Qty | Total Pipeline Capacity (kW) |  | Total Qty | Total Pipeline Capacity (kW)
Interim Subsection t | 0 | 0 | 0% | 0 | 0 |  | 0 | 0
Totals | 0 | 0 | 0% | 0 | 0 |  | 0 | 0

## Project Type
TI Solar Pipeline by Project Type
as of 10/31/2022
Project Type | Factor | # Projects | Pipeline Capacity (kW) | % of Pipeline Capacity
Community Solar | 0.85 | 105 | 164202.66 | 27.84%
Floating Solar | 0.6 | 2 | 18509.84 | 3.138%
Net-metered non-residential ground mount | 0.6 | 12 | 41616.79 | 7.055%
Net-metered non-residential rooftop and canopy | 1 | 506 | 255963.98 | 43.39%
Net-metered residential ground mount | 0.6 | 8 | 183.94 | 0.03118%
Net-metered residential rooftop and canopy | 0.6 | 578 | 7415.73 | 1.257%
Subsection (t): landfill, brownfield, areas of historic fill | 1 | 8 | 101975.92 | 17.29%
Grid supply (subsection (r)) ground mount | 0.6 |  |  | 0%
Grid supply (subsection (r)) rooftop | 1 |  |  | 0%
|  | 1219 | 589868.86 | 100%
ADI Project Pipeline by Market Segment
ADI Program
Market Segment | Residential (kW) |  | Small Non-Residential |  | Large Non-Residential |  | Non-Residential |  | Grid Supply |  | Community Solar |  | ADI Total
|  |  | < 1000 (kW) |  | > = 1000 to < = 5000 (kW) |  | Total (kW) |  | Total (kW) |  | Total (kW)
| Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity | Qty | Capacity
Net-Metered Residential
Residential | 11976 | 104471.99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11976 | 104471.99
Net-Metered Non-Residential
Rooftop | 0 | 0 | 87 | 16391.82 | 10 | 12015.36 | 97 | 28407.18 | 0 | 0 | 0 | 0 | 97 | 28407.18
Rooftop - PUBLIC | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Carport | 0 | 0 | 2 | 1514.7 | 2 | 2497.8 | 4 | 4012.5 | 0 | 0 | 0 | 0 | 4 | 4012.5
Canopy | 0 | 0 | 1 | 115.7 | 1 | 1527.09 | 2 | 1642.79 | 0 | 0 | 0 | 0 | 2 | 1642.79
Farmland | 0 | 0 | 0 | 0 | 1 | 3614.6 | 1 | 3614.6 | 0 | 0 | 0 | 0 | 1 | 3614.6
Floating Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ground Mount | 0 | 0 | 2 | 369.9 | 2 | 3385.92 | 4 | 3755.82 | 0 | 0 | 0 | 0 | 4 | 3755.82
Ground Mount - PUBLIC | 0 | 0 | 0 | 0 | 1 | 3635.28 | 1 | 3635.28 | 0 | 0 | 0 | 0 | 1 | 3635.28
Historic Fill | 0 | 0 | 1 | 513 | 0 | 0 | 1 | 513 | 0 | 0 | 0 | 0 | 1 | 513
Other | 0 | 0 | 2 | 703.28 | 0 | 0 | 2 | 703.28 | 0 | 0 | 0 | 0 | 2 | 703.28
Community Solar
Non-Low & Moderate Income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Low & Moderate Income | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid Supply
Interim Subsection t | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 11976 | 104471.99 | 95 | 19608.4 | 17 | 26676.05 | 108 | 41453.57 | 0 | 0 | 0 | 0 | 12088 | 150756.44

## TPO Summary
Summary of Third Party Ownership (TPO) for BEHIND THE METER Project Pipeline
as of 10/31/2022
|  | TI Program |  |  | ADI Program |  |  | TI & ADI Programs
ALL Customer Types
TPO Code | Description | Project Qty | Total Pipeline (kW) | Percent of Pipeline Capacity | Project Qty | Total Pipeline (kW) | Percent of Pipeline Capacity | Project Qty | Total Pipeline Capacity (kW) | Percent of Pipeline Capacity
No | Did Not use TPO | 397 | 125963.06 | 38.91% | 6196 | 73346.51 | 48.65% | 6593 | 199309.57 | 42.01%
Yes | Used TPO | 709 | 197727.22 | 61.09% | 5892 | 77409.93 | 51.35% | 6601 | 275137.15 | 57.99%
Totals |  | 1106 | 323690.28 | 100% | 12088 | 150756.44 | 100% | 13194 | 474446.72 | 100%
RESIDENTIAL Only
TPO Code | Description | Project Qty | Total Pipeline Capacity (kW) | Percent of Pipeline Capacity | Project Qty | Total Pipeline Capacity (kW) | Percent of Pipeline Capacity | Project Qty | Total Pipeline Capacity (kW) | Percent of Pipeline Capacity
No | Did Not use TPO | 164 | 1684.42 | 29.12% | 6134 | 58934.7 | 56.41% | 6298 | 60619.12 | 54.98%
Yes | Used TPO | 412 | 4099.38 | 70.88% | 5842 | 45537.29 | 43.59% | 6254 | 49636.67 | 45.02%
Totals |  | 576 | 5783.8 | 100% | 11976 | 104471.99 | 100% | 12552 | 110255.79 | 100%
Note: The above tables provide a summary of responses regarding the use of Third Party Ownership (TPO) as reported by the registrant.

## Pipeline - Definitions
TI & ADI Registration Program Status Definitions
Pipeline Capacity is based on: Permission to Operate (PTO) has NOT been received
Accepted | An SRP Acceptance letter has been issued
Eligible for TI Program | Represents projects that have requested to be transferred from SRP to TI program and are waiting for the project type to be selected to complete transfer. Once transferred, the status will go back to the original SRP status
As-Built Incomplete | The Final As-Built packet has been submitted and deemed incomplete
As-Built Incomplete - Review | The contractor has submitted the requested documents
As-Built Received | The Final As-Built packet has been submitted
PTO Waiver Request | A waiver request was submitted in the online SRP portal requesting extended time for the SRP registration to obtain final inspection and permission to operate
PTO Waiver Request Incomplete | A waiver request was submitted in the SRP online portal and the waiver request was deemed incomplete due to missing documentation. An email was issued requesting the missing information
PTO Waiver Requested-Review | The deficiencies have been submitted for the PTO Waiver Request. The program staff will review the deficiencies for accuracy.
PTO Waiver Granted | A waiver request was submitted in the online SRP portal requesting extended time for the SRP registration to obtain final inspection and permission to operate and the request was granted.
Final As-Built Received | The Final As-Built packet has been submitted